1

# Electric Water Heater

What Happened?

- Age of Water Heater – Life Cycle

- Deterioration Occurred in Anode Rod/Element

- Corrosion from Hard Water

## Plumbing Technician Solutions

- Replace Heating Element add USA PLUMBING Coverage

- Possible Replacement of Unit

This is the Electric Water Heater.

Elements or breakers can fail.

It can be repaired or replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Standard Electric Water Heater           On-Demand Electric Water

Heater

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

2

# Gas Water Heaters

What Happened?

- Age of Water Heater (Life Cycle/Warranty)

- Leaking May Have Occurred

- Anode Rod Deterioration – Hard Water

- Sediment Build-up Reduces Life

## Plumbing Technician Solutions

- Drain, Replace Anode Rod add USA PLUMBING Coverage

- Replacement of Unit

These are the internals of your Gas Water Heater unit.

It can be repaired or replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

3

# Water Heater Accessories

What Happened?

- Age can deteriorate parts on water heater

- Adding accessories can improve water heater safety

## Plumbing Technician Solutions

- Replace Failed Part add USA PLUMBING Coverage

- Discuss Options for Accessories

These are options.

It failed or can be added.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

4

# Exhaust Flue

What Happened?

- Corrosion

- Improperly Installed

- Not Current to New Plumbing Safety Code

## Plumbing Technician Solutions

- Replace the Venting add USA PLUMBING Coverage

This is the Exhaust Vent

It may have a restriction or Failure in the air flow.

It can be repaired.

Below is Tankless Vent

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

5

# Water Closets (Toilets)

What Happened?

- Age of Part

- Water is Hard – Corrosion/Rust

- Deterioration – Water Treatment Chemicals

- Possible Clog – Materials/Drain Line

## Plumbing Technician Solutions

- Replace the Failed Part add USA PLUMBING Coverage

Option - Replacement of New Water Closet

This is your Water Closet

A Part failed on your Toilet.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

6

# Water Closet Accessories

What Happened?

- Age of Part

- Options to Add Accessories

## Plumbing Technician Solutions

- Replace-Add Part - Add USA PLUMBING Coverage

- Possible Addition of Accessories

A part may have

failed on the  Toilet.

It can be replaced.  You may want to add a accessory?

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

7

# Disposals

What Happened?

- Age of Part Life Cycle

- Motor Failure

- Blades are Jammed

- Clogged or Material in System

## Plumbing Technician Solutions

- Replace the Motor add USA PLUMBING Coverage

- Possible Replacement New Disposer

This is your garbage disposal.

It failed.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

8

# Faucet Replacement

What Happened?

- Age of Part – Life Cycle

- Leaking has Occurred

- Corrosion – Hard Water

- Deterioration – Wear and Tear

## Plumbing Technician Solutions

- Replace the Faucet add USA PLUMBING Coverage

This is the Faucet.

It failed or is Deteriorating.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

9

# Faucet Repairs

What Happened?

- Age of Part – Life Cycle

- Leaking – Fittings/Washers/Pipes

- Corrosion - Deterioration

## Plumbing Technician Solutions

- Repair the Part/Valve/Washers

- Replace the Faucet add USA PLUMBING Coverage

This is a Faucet

It has a failure.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

10

# Miscellaneous Fittings

What Happened?

- Age and Wear and Tear – Hard Water

- Residue has Built up

- Corrosion – Water Chemicals

## Plumbing Technician Solutions

- Remove and clean

- Replace Fitting add USA PLUMBING Coverage

- Possible Replacement - Optional

These are Plumbing Fittings, time & Wear and Tear create failures.

It may need replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

11

# Waste and Overflow

What Happened?

- Age and Wear and Tear

- Possible Motor/Pump Failure

- Back-up occurred – Debris, Hard Water

## Plumbing Technician Solutions

- Replace the Pump/Motor add USA PLUMBING Coverage

- Possible Replacement of Unit

This is the Overflow System.  It has failed.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

12

# Miscellaneous Repairs

What Happened?

- Age of Part – Basic Wear and Tear

- Corrosion-Back-up, Fatigued Metal

## Plumbing Technician Solutions

- Replace the Failed Part add USA PLUMBING Coverage

- Possible Replacement of Unit

- Upgrade – Add Water Filtration (Warranty, Future Repairs)

A Plumbing part has experienced failure.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

13

# Back Flow Preventers

What Happened?

- Age of Part – Wear and Tear - Weather

- Restriction in Line Causes Blockages

## Plumbing Technician Solutions

- Replace the failed part add USA PLUMBING Coverage

- Possible Replacement of Valve and New Unit

This is the backflow preventer, it protects the water from backing into potable supply.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

14

# Natural Gas Piping

What Happened?

- Wear and Tear over time – Seal Expansion/Contraction

- Leaks from age/temperature/movement

- Need New Installation/Remodel Changes

## Plumbing Technician Solutions

- Fix all leaks, Repairs to Gas Piping, New Lines, Test

- Repair Gas Line add USA PLUMBING Coverage

- Possible Replacement of Gas Appliance

Gas Piping can leak.  It has to be properly repaired & tested.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

15

# Outside Piping Repairs

What Happened?

- Age – Roots Invade

- Crack in Pipes – Wear and Tear

- Severe Weather Can Damage Pipes

## Plumbing Technician Solutions

- Identify Clog/Leak with Camera

- Identify Pipe Issues and Repair

- Repair Lines - Jett/Snake the Lines – Power add USA PLUMBING Coverage

- Possible Replacement of Line-(Re-pipe or New)

This is a Drain Line System.  It has a failure.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

16

# Miscellaneous Pipe Repairs

What Happened?

- Pipes Indoor and Outdoor, may get Damaged by Wear and Tear, Age

- Poor Weather

## Plumbing Technician Solutions

- Replace the Piping

- Re-Pipe Option

The Drain lines or piping inside or out can break, needing repairs.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

17

# Equipment Rental Daily

What Happened?

- Some Repairs Require Daily Equipment Rental

## Plumbing Technician Solutions

- Advise Homeowner

- Approval for Up-Front Pricing to Conduct Work

- Effect Repairs and add USA PLUMBING Coverage

This style heavy equipment is sometimes needed (rented) to complete the work.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

18

# Drain Line Stoppages

What Happened?

- Age of Drain Lines

- Severe Weather Patterns Can Damage Lines

- Corrosion, Issues with Water

## Plumbing Technician Solutions

- Unclog the Drain Line Stoppage

- Repair or Replace the Drain Line

- Re-Pipe as an option add USA PLUMBING Coverage

Drain Lines can often clog or fail for many reasons.

It can be repaired or replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

# Sewer & Drains Miscellaneous

19

What Happened?

- Age and Deterioration

- Significant Clogs/Roots/Cracked Lines

- Excess Debris

## Plumbing Technician Solutions

- Repair and Unclog Drain (Jetter/Snake)

- Replace the Drain Line add USA PLUMBING Coverage

- Possible Re-Pipe

Sewer and Drains can fail for a variety of reasons.  Cracks and roots are most common.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

# Drain Line Repairs

20

What Happened?

- Age of Drain Line or Piping

- Dirt/Debris

- Severe Weather Impact on Drain/Sewer

## Plumbing Technician Solutions

- Clean the Drain Line add USA PLUMBING Coverage

- Replace the Cracked Drain Line

Possible Re-Pipe of Drain Line

Drain failures can occur, clogs, roots, cracks for variety of reasons.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

# Pumps & Accessories

21

What Happened?

- Age of Part – Motor/Pump

- Dirt and Debris – stressed motor/Pump

- Worn motor bearings, debris in Pump

## Plumbing Technician Solutions

- Replace the Motor/Pump add USA PLUMBING Coverage

- Possible Replacement of Sump Pump

This is the Sump Pump.

It failed and protects homes drainage system.

It can be repaired.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

# Water Softening Systems

22

What Happened?

- Part failed Wear and Tear- Age

- Rust or Corrosion – Extremely Hard Water

## Plumbing Technician Solutions

- Discuss Options - Repair the Softener

- Possible Replacement-Upgrade Water Softener

This is your Water Softener.

It has a failure.

They can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee

# Water Filtration

23

What Happened?

- Filtration System Failure – Wear and Tear – Age

- Failure of Filtering Apparatus

## Plumbing Technician Solutions

- Replace the Filtering Apparatus add USA PLUMBING Coverage

- Possible Replacement of Filtration(Age-Warranty?)

This is homes filtration system.

It experienced a failure.

It can be replaced.

With Proper Preventative Maintenance a crisis failure may be avoided saving you money and frustration.

Technician Instructions and Recommendations:

- Have you discussed Plumbing Whole Home Maintenance with the customer?

- Does the Customer fully understand how to prevent this failure in the future?

- Review the 5 Year Plumbing Repair Guarantee and Customer Invoice

- Take time to explain options, educate, up-front price/approval, and our 5 Yr Guarantee